EP Henry Coventry WallTM Specification

1.0 GENERAL INFORMATION

1.1  SCOPE:

Work includes the manufacture, delivery and installation of concrete landscape retaining 			wall units as required by the drawings and specifications.

1.2  RELATED SECTIONS:

A. Section ______________________________

B. Section ______________________________

1.3  APPLICABLE DOCUMENTS:

ASTM STANDARDS:

C 1372   Specification for Segmental Retaining Wall units.

C 1262   Standard test method for evaluating freeze/thaw durability of manufactured CMUs.

C 33       Specifications for concrete aggregates.

C 140      Methods for sampling and testing concrete masonry units.

D 1557     Lab compaction characteristics of soil using modified effort.

OTHER STANDARDS:

NCMA Tek 2-4B, 15-5, 15-8

NCMA SRWU-1 Determination of Connection Strength between Geosynthetics and Segmental 			Concrete Units.

NCMA SRWU-2 Determination of Shear Strength between Segmental Concrete Units.

NCMA Design Manual for Segmental Retaining Walls.

AASHTO Task Force 27 Report “In Situ Soil Improvement Techniques”.

1.4  DELIVERY AND STORAGE:

A. The contractor shall check the material upon delivery to assure that the style, color etc. 			 	Comply with the specification and that the materials are not damaged or defective.  	   			Materials that do not meet the specifications or are defective or damaged shall not be 	   			used for construction.

B. The contractor shall protect the material from ice, snow, excessive mud or any agent 	    			that will bond to the unit.

2.0 MATERIALS

2.1 RETAINING WALL MATERIALS

A. Concrete Retaining Wall Units:

1. Units shall be Coventry Wall Retaining Wall units manufactured by EP Henry Corp. in a color selected by the architect.

2. Retaining wall units shall be manufactured in accordance with ASTM C 1372.

Only aggregates complying with ASTM C 33 shall be used in retaining wall units in areas             where there is exposure to frost. Minimum compressive strength = 3,000 psi. Maximum absorption = 13 pcf.

3. Coventry Wall is a mosaic product providing two height options (3” and 6”) and five lengths (4”, 6”, 10” 12” 14” and 16”. Units are 8” deep.

4. Cap units shall be selected from manufacturer's choices.

5. Color used in pigmented units shall not exceed 10% of the weight of the Portland 		         		cement in the unit.

6. Units shall be interlocked with glass filled nylon pins, minimum one per Coventry Wall unit (except for course underneath cap).  The pins shall be installed at the job site in the slots on the top and bottom of the units.

7. The interlock system shall provide a setback of either vertical or 1/2" per course of Coventry Wall.

B. Interlocking Pins

1. Interlocking pins shall be provided by EP Henry Corporation and shall be molded glass filled nylon.

C. Leveling Pad Material

1. Base Leveling Pad material for the granular wall footing shall be  well graded sand

or gravel with a Unified Soil Classification GW.  A minimum of 6” thick and 16” wide of

compacted base is required.

2.  A concrete footing may be substituted for the granular base.

C. Granular Unit Fill

1. Granular unit fill shall be clean crushed stone or well-graded gravel with a GW Unified Soil Classification. The fill shall have a maximum size of 3/4" and shall not have a fine content (passes #200 sieve) greater than 5% such as AASHTO No. 57 or 67.

2. Granular unit fill shall extend at least 12" behind the rear face shell of the concrete unit.

D. Wall Backfill

1. Existing soil on site may be used for backfill behind the unit fill unless either: a.) deemed unsuitable by the engineer, or b.) contains organic material or foreign debris; or c.)  the backfill material contains excessive fines (greater than 35% by weight passing the No. 200 sieve.

2. Always compact the backfill behind the wall to 95% of maximum density after each

course is laid (8”).  Only hand operated mechanical plate compactor should be used for compacting within 3 ft. of the Coventry Wall units.

F. Drain Tile

1. Drain tile shall be plastic, concrete or equal with a minimum 4” diameter or as specified by 			the engineer or designer.

2.2   RETAINING WALL INSTALLATION:

A. Excavation

1. Contractor shall excavate the site as required by the construction drawings.

B. Foundation Soil Preparation

1. The foundation soil shall be excavated as required by the construction drawings.

2. The engineer shall examine the foundation soil for approval.  Unsuitable soil will be removed and replaced with acceptable soil.

C. Base Leveling Pad

1. Install leveling pad (i.e. footing) as shown on the construction drawings.  A 6”minimum thickness   and 16” width is required.

2. Granular base material shall be compacted with to 95% of maximum density (see ASTM D1557).

3. Prepare the base footing so that the entire length and width of the Coventry Wall unit is in contact with the footing.

D.  Coventry Wall Installation – Maximum unreinforced wall height is 36” with ½” per course batter.

1. Lay a base row of Coventry Wall units (16” long stretchers only is recommended) edge to edge, narrowest slot up, on the prepared foundation following  the lines shown on the construction drawing.  Check for straightness.  Level each unit from side to side.  DO NOT pitch the unit towards the front of the wall.

2. Backfill 12” behind the units with granular aggregate and then site soil. Compact all fill to 95% maximum density.  Do not use mechanical equipment on the units and do not operate heavy equipment within 3 feet of the wall. Clean the top of the units so they are free of aggregate before installing the next course.

3. Slide the narrow leg of one interlocking pin into the slot on the top pf each block, minimum one pin per slot.  Position all pins the same direction (battered or non-battered).

4. Stagger the second course on top of the base course so that the wide portions of the pins extend into the wide slot in the underside of the unit being laid.  Repeat steps 2,3, and 4 until the specified height is obtained.

5. At the end of each course turn the units at a radius into the bank or use the 90º corner  			    unit.

E. Cap Unit Installation

1. Cap units are installed as the last course on the wall.  Use a high strength and flexible concrete adhesive compound to bond the cap to the wall.  Apply the adhesive as recommended by the manufacturer on the front and back face shells of the Coventry Wall unit. Install the cap with or without an overhang as required by the architect.

F. Drain Tile Installation

1. The installation of the drain tile shall be required directly behind the Coventry Wall unit at grade level.  Cover the drain tile with the granular fill.  Install drain tile bleeders wherever necessary or as required by the engineer, maximum 50 ft on centers.

G. Geogrid Installation (consult an engineer before using geogrid to confirm type, length and spacing).

1.  Clean off the top of Coventry Wall course where geogrid is specified.

2.  Cut the geogrid to the specified length (minimum 4 ft recommended).

3.) Place the geogrid to within 1” of the face of the Coventry Wall units, making sure that the primary strength direction is perpendicular to the wall face.

4.)  Install the interlocking pins and lay another course of Coventry Wall Units. Backfill with granular fill and site soil behind the Coventry Wall units.

5.)  Tension the geogrid before and during backfill placement.

6.)  Compact to 95% maximum density.

7.)  Use only lightweight, hand operated compaction equipment within 3 feet of wall units.

EP Henry Corporation cannot assume any liability whatsoever for the accuracy or completeness of the information contained herein.  Final determination of suitability of any material is the sole responsibility of the specifier and user.  Users of any substance should satisfy themselves by independent investigation that the material can be used safely.